## Sheet1
Green Energy Dane Plan
Project |  | Total Cost | Focus Asst | In Current Budget | Net Cost | Potential FOE Grants | Net Cost | Annual Savings | Simple Payback
Retro-Commissioning Project - CCB, Courthouse, PSB |  | 700000 |  |  | 575000 | 50000 | 650000 | 100000 | 7
New Solar Photovoltaic Facilities - 5 sites Energy produced is sold to MG&E at $0.25 per kWh |  | 425000 | 125000 | 0 | 300000 | 125000 | 300000 | 16000 | 18.75
Food Waste Digester Plant Feasibility Study |  | 350000 | 50000 | 0 | 300000 | 50000 | 300000 |  |  | *potential revenue $2-$4 million
Occupancy Sensors to Reduce Lighting Use - PSB, CCB, Fen Oak, Northport |  | 75000 | 30000 |  | 45000 | 0 | 75000 | 35000 | 1.2857 | when project is completed
Replace CCB Garage Level Air Handling Unit With Newer Efficient Model Existing unit is vintage 1956 |  | 65000 |  |  | 65000 | 0 | 65000 | 13000 | 5
Replace Variable Frequency Drives on Two CCB Air Handling Units |  | 48000 |  |  | 48000 | 0 | 48000 | TBD | TBD | 5% for replacing existing, 30% for new
Replace Old Lighting With Energy Efficient Lighting - AEC Barns #1-11 |  | 40000 | 0 | 0 | 40000 | 0 | 40000 | 11400 | 3.5088
Increase CCB Roof Insulation from R24 to R30 |  | 19000 |  |  | 19000 | 0 | 19000 | 1900 | 10
Install Steam Meter at PSB to Monitor Energy Use & Troubleshoot Spikes in Energy Use |  | 10000 |  | 0 | 10000 | 0 | 10000 | TBD | TBD | *Allows FM staff to identify
Replace Old Lighting With Energy Efficient Lighting - Job Center Parking Lot |  | 10000 |  | 0 | 10000 | 0 | 10000 | 2900 | 3.5 | performance/billing problems
Shelter Home Insulation |  | 5000 |  | 0 | 5000 | 0 | 5000 | 600 | 8.3333
Replace 1956 Vintage Hot Water System with Energy Efficient System and Supplemental Solar Hot Water System at CCB |  | 237000 |  |  | 237000 | 0 | 237000 | 17100 | 13.8596
Replace Old Lighting With Energy Efficient Lighting - Huber Center, Parks, & AEC |  | 193000 |  |  | 193000 | 0 | 193000 | 55000 | 3.5
Install Energy Efficient High Speed Doors at AEC |  | 90000 |  |  | 90000 | 0 | 90000 | 32000 | 2.8125
Engineering, Administrative, and Project Implementation Expenses* |  | 225000 |  |  | 225000 | 0 | 225000 | 225000
TOTAL Project Costs and Savings |  | 2492000 | 205000 | 0 | 2162000 | 225000 | 2267000 | 509900
*Dane County would save this much in salaries while implementing the above listed projects.
*Based on estimated staff effort
Dane County would like to thank Focus On Energy and MG&E for their review and assistance in compiling this project list.
The above list of projects is limited due to the amount of available grant funds.
Dane County will continue to pursue other sources of funding to promote energy efficiency and renewable energy projects.
Possible Solar PV Sites:
Lussier Family Heritage Center | Mendota County Park |  | CCB
AEC barns, arena, etc | Indian Lake Park |  | PSB
Zoo | The Jennie and Kyle Preserve |  | Badger Prairie
Lakeview Front Lawn | Highway Garages
Tenney Locks | Job Center
Goodland Park | Detox